## JPS rates
Appendix B
Scope of Activities
DIGGING HOLES (POLES)
| 0 | Digging Pole Hole for 30’ Pole, Earth/Sand
| 0 | Digging Pole Hole for 30’ Pole, Marl/Gravel
| 0 | Digging Pole Hole for 30’ Pole, Rock/Limestone
| 0 | Digging Pole Hole for 30’ Pole, Compressor
| 0 | Digging Pole Hole for 35’ Pole, Earth/Sand
| 0 | Digging Pole Hole for 35’ (10.5m) Pole, Marl/Gravel
| 0 | Digging Pole Hole for 35’ (10.5m) Pole, Rock/Limestone
| 0 | Digging Pole Hole for 35’ (10.5m) Pole, Compressor
| 0 | Digging Pole Hole for 40’ (12m) Pole, Earth/Sand
| 0 | Digging Pole Hole for 40’ (12m) Pole, Marl/Gravel
| 0 | Digging Pole Hole for 40’ (12m) Pole,Rock/Limestone
| 0 | Digging Pole Hole for 40’ Pole, Compressor
| 0 | Digging Pole Hole for 45’ Pole, Earth/Sand
| 0 | Digging Pole Hole for 45’ Pole, Marl/Gravel
| 0 | Digging Pole Hole for 45’ Pole, Rock/Limestone
| 0 | Digging Pole Hole for 45’ Pole, Compressor
| 0 | Digging Hole for 50' Pole Earth /sand
| 0 | Digging Hole for 50' Pole, Mart/Gravel
| 0 | Digging Hole for 50' Pole Rock/ limestone
| 0 | Digging Hole for 50' Pole Compressor
| 0 | Digging Hole for 55' Pole Earth sand
| 0 | Digging Hole for 55' Pole, Mart/Gravel
| 0 | Digging Hole for 55' Pole Rock/ limestone
| 0 | Digging Hole for 55' Pole Compressor
| 0 | Digging Hole for 60' Pole Earth sand
| 0 | Digging Hole for 60' Pole, Mart/Gravel
| 0 | Digging Hole for 60' Pole Rock/ limestone
| 0 | Digging Hole for 60' Pole Compressor
| 0 | Digging Hole for 65' Pole Earth sand
| 0 | Digging Hole for 65' Pole, Mart/Gravel
| 0 | Digging Hole for 65' Pole Rock/ limestone
| 0 | Digging Hole for 65' Pole Compressor
| 0 | Digging Hole for 70' Pole Earth sand
| 0 | Digging Hole for 70' Pole, Mart/Gravel
| 0 | Digging Hole For 70' Pole, Rock/limestone
| 0 | Digging Hole For 70' Pole, Compressor
| 0 | Digging Hole for 75' Pole Earth sand
| 0 | Digging Hole for 75' Pole, Mart/Gravel
| 0 | Digging Hole For 75' Pole, Rock/limestone
| 0 | Digging Hole For 75' Pole, Compressor
| 0 | Digging Hole for 80' Pole Earth sand
| 0 | Digging Hole for 80' Pole, Mart/Gravel
| 0 | Digging Hole For 80' Pole, Rock/limestone
| 0 | Digging Hole For 80' Pole, Compressor
DIGGING HOLES (GUYS)
| 48 | Digging (1) Hole for D/Guy ( Compressor) - Distribution
| 45 | Digging (1) Hole for D/Guy in Earth/Sand - Distribution
| 46 | Digging (1) Hole for D/Guy (Marl/Gravel) - Distribution
| 47 | Digging (1) Hole for D/Guy (Rock/Limestone) - Distribution
| 0 | Digging (1) Hole for Class "B" O/H Steel Rail - Distribution
Digging (1) Hole for Class "B" O/H Steel Rail (Compressor) - Distribution
SPOTTING (avg terrain distance 500') Distribution
| 59 | Spotting 30'-45' pole
Spotting post type insulator 15-35kV
Spotting 1-3 Discs
Spotting 5'7"-8'-0" Crossarm
Spotting 8' Double Arming Assemble
Spotting 2'-6"-6'0" Wood Brace
| 60 | Spotting small Anchor Block
| 61 | Spotting single steel Rail (30ft.)
ERECTING POLES
| 78 | Erect 30' - 35' Wood Pole
| 79 | Erect 40' Wood Pole
| 80 | Erect 45' Wood Pole
Erect 50' Wood Pole
| 81 | Erect 60' Wood Pole
| 82 | Erect 65' Wood Pole
| 83 | Erect 70' Wood Pole
| 84 | Erect 75' Wood Pole
| 85 | Erect 80' Wood Pole
| 87 | Erect 10.5m Concrete Pole
| 89 | Erect 12m Concrete Pole (SD)
| 88 | Erect 12m Concrete Pole (HD)
Provide Compacted/Stabilized Marl(for Concrete Pole)
RETIRING POLES
| 91 | Retire 30 - 35' Wood Pole
| 92 | Retire 40' Wood Pole
| 93 | Retire 45' Wood Pole
| 94 | Retire 50 Pole
| 95 | Retire 55' Pole
| 96 | Retire 60' Pole
| 97 | Retire 65' Pole
| 98 | Retire 70' Pole
| 99 | Retire 75' Pole
| 100 | Retire 80' Pole
| 101 | Retire Steel Pole
| 102 | Retire Rail Guard
Retire 10.5-12m Concrete Pole
STRAIGHTENING POLES & C/Arms
| 103 | Straighten 30' - 35' Pole
| 104 | Straighten 40' Pole
| 105 | Straighten 45' - 50' Pole
| 106 | Straighten 55' Pole
| 107 | Straighten 60' Pole
| 108 | Straighten 65' Pole
| 109 | Straighten 70' Pole
| 110 | Straighten 75' Pole
| 111 | Straighten 80' Pole
| 113 | Straighten 10.5m Concrete Pole
Straighten 12m Concrete Pole (HD & SD)
| 116 | Straighten Cross Arm
| 117 | Straighten Switches and Arrester Bracket
| 118 | Straighten 5' Crossarm 69kv
| 119 | Straighten 10' Crossarm 69kv
| 120 | Straighten 16' Crossarm 138kv
| 121 | Straighten 30' Spar arm 138kv
Wood Pole Restoration
Wood Pole Restoration (No Compressor Required)
Wood Pole Restoration (Compressor Required)
Dig Hole at Groundline Earth/Clay/Marl/Gravel/Limestone (2 1/2 ft x 2ft)
Dig Hole at Groundline Compressor (2 1/2 ft x 2ft)
Pole Inspection at Documentation
Fill, Compact and Restore Soil
Clean Decay from Pole
Preseravtion Treatment of Pole Decay Pocket (4ft - 12ft) Above Ground
Fill Pole Pocket with Osmoweld Filler (Paste)
Apply Preservative Treated Pole Wrap
Bore Pole for Groundline Treatment (3 Bores @ 120 Degrees Apart)
Apply Three (3) 4" Solid Chemical Roda (Bore Rods) to Each Hole
Install Pole Reinforcement / Struss
Tag, Label, Map & Photograph Restored Pole
ERECTING GUYS (Distribution)
| 122 | Erect Pri. & Sec. D/Guy
| 123 | Erect Pri. & Sec. D/Guy Less Anchor
| 124 | Erect Pri. & Sec. O/H Guy
Erect Pri. & Sec. O/H Guy Steel Rail
Erect Pri. & Sec. Strut Guy Complete
| 126 | Erect Pri. & Sec. O/H Guy Less Pole & Anc.
RETIRING GUYS (Distribution)
Retire Strut Guy Complete
Retire Strut Guy Less Anchor
| 132 | Retire Prim. & Sec. D/Guy
| 133 | Retire Pri. & Sec. D/Guy Less Anchor
| 134 | Retire Primary & Sec. O/H Guy "B"
| 135 | Retire Pri. & Sec. O/H Guy "B" Less Pole
| 136 | Retire Pri. & Sec. O/H Guy Less Pole & Anc.
| 137 | Retire Pri. & Sec. O/H Guy (Steel Rail)
RETENSIONING GUYS (Distribution)
Retension Strut Guy
| 138 | Retension Pri. & Sec. D/Guy "B"
| 139 | Retension Pri. & Sec. O/H Guy "B" (Pole)
| 140 | Retension Pri. & Sec. O/H Guy (Steel Rail)
TRANSFERING GUYS (Distribution)
Transfer Strut Guy
| 141 | Tranfer Pri. & Sec. D/Guy "B"
| 142 | Transfer Pri. & Sec. O/H Guy "B" (Pole)
| 143 | Transfer Pri. & Sec. O/H Guy (Steel Rail)
LINE PATROL (Distribution)
Carry out Detail Patol per pole
Carry out Hazard Patrol per pole
Carry out Detail Patol per mile of line
Carry out Hazard Patrol per mile of line
DRESSING POLES (Distribution)
| 160 | Dress. 30'- 40' Pole with Top Brack. & Ins.
| 161 | Dressing 30'-40' Pole with 5'-7" C/Arm
| 162 | Dress. 30'-40' Pole with Double 5'-7" C/Arm
| 163 | Dressing 30'-40' Pole with 8' C/Arm
| 164 | Dress. 30'-40' Pole with Double 8' C/Arm
Dressing 30'-40' Pole with Pin & Ins.
| 168 | Dress. 30-40'Pole with D/E Polymer
| 169 | Dress. 30-40' Pole with (1 Set 1) D-Iron
| 170 | Dress. 30-40' Pole with (1 Set 2) D-Iron
| 171 | Dress. 30-40' Pole with (1 Set 3) D-Iron
Dress. 30-40' Pole with Stand-Off Bracket
| 173 | Dress. 30-40' Pole with (2 Set 3) D-Iron
Dress. 30-40' Pole with D/O Switch Bracket
| 176 | Dress. 45' Pole with 5'-7" C/Arm
| 177 | Dress. 45' Pole with 5'-7" Double C/Arm
| 178 | Dress. 45' Pole with 8' C/Arm
| 179 | Dress. 45' Pole with 8' Double C/Arm
Dress. 45' Pole with Ins. Pin & Ins.
Dress. 45' Pole with D/E Polymer
| 186 | Dress. 45' Pole with (1 Set 1) D-Iron
| 187 | Dress. 45' Pole with (1 Set 2) D-Irons
| 188 | Dress. 45' Pole with (1 Set 3) D-Irons
| 189 | Dress. 45' Pole with (1 Set 4) D-Irons
| 190 | Dress. 45' Pole with (2 Set 3) D-Irons
Dress. 45' Pole with (3 Set 4) D-Irons
| 192 | Installing Wood Brace (2)
Installing Crossarm on H-Structure
RETIRING C/ARMS & INSULATORS
| 204 | Ret. Pole Top Brac & Ins. on 30-40'Pole
| 205 | Ret. 5'-7" C/Arm on 30-40' Pole
| 206 | Ret. 5'-7" D C/Arm on 30-40' Pole
| 207 | Ret. 8' C/Arm on 30-40' Pole
| 208 | Ret. 8' Double C/Arm on 30-40' Pole
| 211 | Ret. Ins. Pin & Ins. on 30-40' Pole
| 212 | Ret. 10" Disc Ins. on 30-40' Pole
| 213 | Ret. D-Irons on 30-40' Pole
Ret. D-Irons on 45-50' Pole
| 214 | Ret. Pole Top Brac. & Ins. on 45' Pole
| 215 | Ret. 5'-7" C/Arm on 45' Pole
| 216 | Ret. 5'-7" Double C/Arm on 45' Pole
| 217 | Retire 8' C/Arm on 45' Pole
Ret. 8' Double C/Arm on 45' Pole
| 221 | Ret. Ins. Pin & Ins. on 45' Pole
Ret. 10" Disc Ins. on 45' Pole
| 223 | Ret. D-Irons on 45' Pole
| 224 | Retire Cross Arm Brace (2)
STRINGING & TENSIONING OF CONDUCTORS
| 295 | #2 - #2/0 1 Wire/Span
| 296 | #2 - #2/0 2 Wire/Span
| 297 | #2 - #2/0 3 Wire/Span
| 298 | #2 - #2/0 4 Wire/Span
| 299 | #4/0 1 Wire/Span
| 300 | #4/0 2 Wire/Span
| 301 | #4/0 3 Wire/Span
| 302 | #4/0 4 Wire/Span
| 303 | 394.5 1 Wire/Span
| 304 | 394.5 2 Wire/Span
| 305 | 394.5 3 Wire/Span
| 306 | 394.5 4 Wire/Span
RETIRING OF CONDUCTORS
| 318 | #4 - #3/0 1 Wire/Span
| 319 | #4 - #3/0 2 Wire/Span
| 320 | #4 - #3/0 3 Wire/Span
| 321 | #4 - #3/0 4 Wire/Span
| 326 | #4/0 - 394.5 1 Wire/Span
| 327 | #4/0 - 394.5 2 Wire/Span
| 328 | #4/0 - 394.5 3 Wire/Span
| 329 | #4/0 - 394.5 4 Wire/Span
RETENSIONING OF CONDUCTORS
| 341 | #4 - #3/0 1 Wire/Span
| 342 | #4 - #3/0 2 Wire/Span
| 343 | #4 - #3/0 3 Wire/Span
| 344 | #4 - #3/0 4 Wire/Span
| 349 | #4/0 - 394.5 1 Wire/Span
| 350 | #4/0 - 394.5 2 Wire/Span
| 351 | #4/0 - 394.5 3 Wire/Span
| 352 | #4/0 - 394.5 4 Wire/Span
TRANSFER & RETENSION OF CONDUCTOR (Distribution)
| 358 | #4 - #2 1 Wire/Pole
| 359 | #4 - #2 2 Wire/Pole
| 360 | #4 - #2 3 Wire/Pole
| 361 | #4 - #2 4 Wire/Pole
| 362 | #2/0 - #3/0 1 Wire/Pole
| 363 | #2/0 - #3/0 2 Wire/Pole
| 364 | #2/0 - #3/0 3 Wire/Pole
| 365 | #2/0 - #3/0 4 Wire/Pole
| 366 | #4/0 - 394.5 1 Wire/Pole
| 367 | #4/0 - 394.5 2 Wire/Pole
| 368 | #4/0 - 394.5 3 Wire/Pole
| 369 | #4/0 - 394.5 4 Wire/Pole
AMPACTING OF JOINTS (Distribution)
| 390 | #6 - #2 / Joint
| 391 | #1/0 - #4/0 / Joint
| 392 | #336.4 - #447.5 /Joint
| 393 | Making Jumper/Bonding
| 394 | Disconnecting Jumpers
TRANSFER OF SERVICES (Distribution)
| 411 | #4 - #3/0 2 Wires
| 412 | #4 - #3/0 3 Wires
| 413 | #4 - #3/0 4 Wires
| 414 | #4/0 4 Wires
WORKING ON DEADEND (Distribution)
| 420 | #2 - #2/0 1 Wire Primary
| 421 | #2 - #2/0 2 Wires Primary
| 422 | #2 - #2/0 3 Wires Primary
| 423 | #2 - #2/0 3 Wires Secondary
| 424 | #2 - #2/0 4 Wires Secondary
| 425 | #4/0 1 Wire Primary
| 426 | #4/0 2 Wires Primary
| 427 | #4/0 3 Wires Primary
| 428 | #4/0 3 Wires Secondary (PVC)
| 429 | #4/0 4 Wires Secondary (PVC)
| 430 | #394.5 1 Wire Primary
| 431 | #394.5 2 Wires Primary
| 432 | #394.5 3 Wires Primary
ERECTING SINGLE PHASE TRANSFORMER
| 440 | 5kVA - 25 KVA Transformer
| 441 | 50 kVA Transformer
| 443 | 100kVA - 167 KVA Transformer
RETIRING SINGLE PHASE TRANSFORMER
| 446 | 5kVA - 25 KVA Transformer
| 447 | 50 kVA Transformer
| 448 | 100kVA - 167 KVA Transformer
TRANSFERRING SINGLE PHASE TRANSFORMER
| 452 | 5kVA - 25 KVA Transformer
| 453 | 50 kVA Transformer
| 454 | 100kVA - 167 KVA Transformer
BANKING TWO SINGLE PHASE TRANSFORMERS
| 457 | Max Size in Bank - 25kVA Transformer
| 458 | Max Size in Bank - 50KVA Transformer
| 459 | Max Size in Bank - 100kVA Transformer
| 460 | Max Size in Bank - 167kVA Transformer
BANKING THREE SINGLE PHASE TRANSFORMERS
| 476 | Max Size in Bank - 25kVA Transformer
| 477 | Max Size in Bank - 50KVA Transformer
| 478 | Max Size in Bank - 100kVA Transformer
| 479 | Max Size in Bank - 167kVA Transformer
| 511 | Changing Wiring of Transformer from Delta to Star
| 512 | Changing Wiring of 1 Bank of 2 Transformers from Delta to Star
| 513 | Changing Wiring of 1 Bank of 3 Transformers from Delta to Star
Install Cluster Mount Bracket
ANTI-THEFT ACTIVITIES
Install 10kVA Transformer with EG cabinet (complete electrical work)
Install 15kVA Transformer with EG cabinet (complete electrical work)
Install 25kVA Transformer with EG cabinet (complete electrical work)
Remove EG Cabinet from Transformer
Install EG Cabinet to Transformer
Install Control Module in EG cabinet
Retire Control Module from EG cabinet
Install Power Supply in EG cabinet
Retire Power Supply from EG cabinet
Install Meter in EG cabinet
Retire Meter from EG cabinet
Install Communication Bus (Guts) in EG cabinet
Retire Communication Bus (Guts) from EG cabinet
Install SWA (3 Core) Cable per GE
Remove SWA (3 Core) Cable per GE
Terminate SWA Cable using Glands
Install and Wire Pole Mounted Meter Centre - Residential (4 meters)
Install and Wire Pole Mounted Meter Centre - Commercial (2 meters)
Retire Pole Mounted Meter Centre - Residential (4 meters)
Retire Pole Mounted Meter Centre - Commercial (2 meters)
PAD MTD. XFORMER & UNDERGROUND CABLE WORK
| 507 | Switch Transformer external tap from 6.9 - 13.8kV
| 508 | Potential Transformer
| 509 | Erecting Pad Mounted Transformer
| 510 | Retiring Pad Mounted Transformer
| 515 | Installing Pot Head (Big) & Underground Cable (High Voltage)
| 516 | Installing Pot Head (Small) & Underground Cable (High Voltage)
Install Metal Cable Guard
| 517 | Retiring Pot Head (Big) & Underground Cable (Cut at Pole Foot) - H.V.
Retiring Pot Head (Small) & Underground Cable (Cut at Pole Foot) - H.V.
| 518 | Escavating Trench & Backfilling For Underground Cable (per metre) H.V.
| 519 | Escavating Trench & Backfilling For Underground Cable (per metre) L.V.
| 520 | Laying Cables, Tiles, Sand (per metre) H.V.
| 521 | Connecting Secondary Cable Into Distribution Panels & Terminating
| 522 | Low Voltage (L.V.) Cable Into Pad Mounted Transformers
| 523 | Installing HV Switch Gear
Construct Substation 0-299kVA
Construct Substation 300-1000kVA
Construct Substation 1001-2000kVA
Construct Substation 2000-5000kVA
Power Cable Termination/ph, 1kV and Below
Power Cable Termination/ph, 1.1kV to 4kV
Power Cable Termination/ph, 4.1kV to 25kV
Power Cable Termination/ph, 25.1kV to 69kV
Transformer Tap Change and Voltage Checks
Sectionalizing Terminal
Manhole/ Splicing Chamber
Escavation of Trench for HV U/G Cables
Laying of # 1 XPLE U/G cable/meter/ph
Laying of #4 XLPE U/G Cable/meter/ph
Laying of 750 mcm XLPE U/G Cable/meter/ph
Retiring of # 1 XPLE U/G cable/meter/ph
Retiring of #4 XLPE U/G Cable/meter/ph
Reting of 750 mcm XLPE U/G Cable/meter/ph
Install HV Mounting Bracket
Retire HV Pot Head & U/G Cables
MV /HV Testing
Transformer PI / test
Transformer Turns Ration (TTR) /Tap/Phase
Transformer Winding Resistance/Tap/Phase
Oil Dielectric
Transformer Function (<2MVA)
Powe Cable, Insulation Resistance, <1kV Rated/Phase
Powe Cable, Insulation Resistance, 1.1kV - 4kV Rated/Phase
Powe Cable, Insulation Resistance, 4.1kV - 35kV Rated/Phase
Power Cable, Hi-Pot , 0-24kV/Phase
Power Cable, Hi-Pot , 24kV - 69kV/Phase
INSTALLING CAPACITOR
| 524 | 600 kVar Switched (To include Potential Transformer)
| 525 | 600 kVar Fixed
| 526 | 300 kVar Switched (To include Potential Transformer)
| 527 | 300 kVar Fixed
INSTALLING PROTECTIVE EQUIPMENT - Distribution
Grounding Connections (to include bonding all metal part and install lugs)
| 529 | Grounding Connections (to include ground wire and housing)
Ground Pit (To include digging, placing mat and backfilling)
Hotline Clamp & Stirrup
| 530 | Lighting Arresters (All Voltages)
| 531 | High Voltage Fuse Cutouts (All Voltages)
| 532 | Knife Switch (All Voltages)
| 534 | Load Buster-Gang ( All Voltage)
Switching Transformer from 6.9kv to 13.8kv (including: changing fuse link) all sizes
Changing Wiring of 1 Transformer - fuse cutout / L-Arrester
RETIRING PROTECTIVE EQUIPMENT
Grounding Connections (Complete)
| 540 | Lighting Arresters (All Voltages)
| 541 | High Voltage Fuse Cutouts (All Voltages)
| 542 | Knife Switch (All Voltages)
| 544 | Load Buster-Gang ( All Voltage)
INSTALL HPS & MV FIXTURES (Include Wiring &Bracket)
| 546 | 100 / 150 Lamps
| 548 | 250 / 400 Lamps
TRANSFER OF HPS & MV FIXTURES (Wiring & Bracket Not Included)
| 549 | 100 / 150 Lamps
| 550 | 250 / 400 Lamps
Discon/Recon100 / 150 Lamps
RETIRE HPS & MV FIXTURES
| 551 | 100 / 150 Lamps
| 552 | 250 / 400 Lamps
SMART STREETLIGHT MAINTENANCE |  | SMART STREETLIGHT MAINTENANCE: REPAIR OF SMART LED
Utilize mobile device to locate streetlight to be investigated Test streetlight to determine failed component (LED light, controller/photocell, wiring) Capture all relevant data on mobile device (tablet) to include smart controller MAC ID Replace smart controller or photocell Conduct glove test to verify functionality of repaired light Replace LED light, smart controller, wiring or connectors
STREETLIGHT CONVERSION: HPS -SMART LED STREETLIGHT
Pre-construction of lamps & wiring on the streetlight brackets Removal of streetlight connection from service line Removal of streetlight bracket with all associated streetlight fixtures Installation of streetlight bracket with all associated fixtures Installation of streetlight connections to service line Salvage of retired streetlight infrastructure Affix pole number to pole (using pole band on concrete pole)
NEW INSTALLATION OF STREETLIGHT: APPROVED BY MLGRD - JPS
New streetlights installed at a location approve by the Ministry of Local Government and Rural Development (MLGRD). This Involved installing streetlight brackets, Wire and installed lamp and installation of Smart Controller or Photocell.
OTHER STREETLIGHT SERVICES
| 563 | Erecting Street Light Standard To Include Cementing
Install 10.5m Bolted Aluminum Streetlight Standard with Double arm
Supply & Install LV Panel and Accessories for Streetlight Circuits
| 564 | Retiring Street Light Standard
SERVICE LINES TRANSFER
| 411 | Install No. 4 - 3/0 2 wire
| 412 | Install No. 4 - 3/0 3 wire
| 413 | Install No. 4 - 3/0 4 wire
| 414 | Install No. 4 /0 4 wire
Sectionalizing Terminal